Observation sheet for patients with chest drains

| RHYTHM: Regular = R. Irregular = IR | COLOUR: Pink = P Flushed = F Pale = A Cyanosed = C | DYSPNOEA: / 10 0 = Nil, 1 = Very slight, 2 = Slight, 3 = Moderate, 4 = Somewhat severe, 5 = Severe, 7 = Very severe, 10 = Maximal | O2 DEVICE: Nasal prongs = NP Hudson mask = HM Re-breather = RB Non rebreather =NRB Multivent mask= MV | ICC OBS 1/24 for 4 hours 2/24 for 24 hours 4/24 till removal See over for details | Name UR ID Label DOB |
| --- | --- | --- | --- | --- | --- |

| Date | Time | Temp | BP | PR | Rhythm | Resp | Dysp | Sats | O2 Device | Colour | Weight | BO | Pain | SW | AL | DR | CMs | Connect- ions | Fluid Level | Wound | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Glascow Coma Scale: Eyes Open - Spontaneous = 4, To speech = 3, To pain = 2, Nil = 1: Best Verbal: Oriented =5, Confused = 4, Inappropriate words = 3, Incomprehensible Sounds = 2, Nil = 1: Movement: Obey Commands = 6, Localises pain = 5, Withdraws = 4, Flexion = 3, Extension = 2, Nil = 1: Pupils: 2 mm, 3 mm, 4 mm, 5 mm, 6 mm, 7 mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

CHEST DRAIN OBSERVATION PROTOCOL

The management of a patient with a chest tube attached to a UWSD system includes regular assessment through observation of the patient and the system. The observations to be taken and recorded on the Thoracic ICC Observation Chart are listed below:

1.   Basic Vital Signs: Temperature, Pulse, Respiration, Blood Pressure and Oxygen Sats – 4/24. Assess for the presence of dyspnoea or cyanosis.

2.   UWSD System:

|  |  | Code |
| --- | --- | --- |
| Swing | the presence of fluctuations (swinging/ tidalling) of fluid in the water seal chamber as the patient breathes (fluctuation of 4-8 cms reflect changes in pressure in the pleural space) | Y = Yes N = No |
| Air loss | seen as bubbling in the water seal chamber of the UWSD system either continuously or intermittently. If bubbling is absent ask the patient to take a deep breath and cough as this expels air in the pleural space by increasing pleural pressure | C = continuous OC = on cough N = none |
| Drainage | record and notify medical officer of any large differences in the amount or colour of drainage | Amount in mls |
| Suction Pressure | the amount of suction pressure, if ordered. Check the suction gauge setting against prescribed level of suction (a gentle, continuous bubbling should be seen in the suction control chamber in a 3 chamber system) | Amount in Kpa or cms of water N = none |
| Connections | ensure all connections are tight and that the tubing is kept above the chamber in a relatively straight position. The system should be approximately 80-100 cms below the level of the patient’s chest | S = secure |
| Fluid Levels | the water levels in the water seal and suction control chambers and replenish as necessary (fluid can evaporate from these chambers) | C = correct |
| Wound | the drain dressing – to be done daily. Note the condition of the wound, volume of exudate and palpate under and around the chest tube for the presence of crepitus under the skin (subcutaneous emphysema) indicating an air leak into the subcutaneous tissue. Check that the securing tape is supporting the weight of the tube | Intact |
| Pain | Observe and record the patient’s pain level at rest and with deep breathing and coughing using the numerical pain scale | Score 0-10 |